# INPUTS CHECKLIST asistencia social

# tarifa asistencia social codigo 285 n# medidor 75185

# (Foto 072)

El Asilo de Ancianos se encuentra ubicado en la Av. Quito, es una calle muy transitada por automóviles.

Asilo de ancianos podemos observar que tienen tierra para poder sembrar, en la fachada dos tres y cuatro, Foto( 075,076), podemos encontrar un árbol en la fachada uno donde cubre un poco del sol

(Foto 077)

La Fachada principal esta orientada al Oeste, tiene pocas edificaciones a su lado, la altura es shorter, y la edificación tiene forma rectangular. (Foto 899, 890).

La edificación tiene vidrios policromados en todas sus fachadas ( Foto 899,900,902,903) y en la entrada encontramos vidrios en  forma de persianas donde hay una buena ventilación y pueden controlar la entrada de luz,( Foto 898).

La puerta de la entrada es de vidrio policromo  con aluminio ( Foto 027), podemos encontrar en el primer piso  a primera vista la recepción, la sala  de espera, la sala de reuniones,  a mano izquierda la cocina ( Foto 906). También cuentan con un cuarto amplio y fresco donde tienen las lavadoras de ropa, estas maquinas no se podía observar sus características se tomo foto de la marca,

(Foto 029, 028)

La edificación cuenta con dos pisos, al subir lo hacemos por medio de un corredor diseñado especialmente para la gente que no puede caminar mucho, o llevarles en sillas de ruedas, ( foto017), y al mirar hacia el techo podemos encontrar vidrios policromado por donde entra luz.

(Foto 019, 020), luego nos encontramos al frente nuestro con los vidrios estilo persiana policromados, luego a mano derecha podemos ver una sala grande de eventos, y con vidrios policromados. (Foto 021, 022, 023).

El techo es de Multitechos con fija de madera, y encontramos ciertos alambres sueltos (Foto 025).

En los cuartos podemos observar que tienen una cama, con una ventana de virios policromados, y cortinas de color rosado, piso de baldosa con techo de plancha ( techo falso) ( Foto 013), tienen baño privado con focos ahorrativos, en toda la edificación no usan agua caliente( Foto 014, 015).

Por la planta baja , caminando hacia tras encontramos unas gradas, y antes de llegar a la terraza podemos ver que arriba hay una entrada natural de luz, y también de viento ( Foto 010),  ( Foto 012) que nos lleva a una como terraza pequeña y podemos observar los tanques de agua( Foto 009).en la planta baja encontramos en un cuarto amplio la bomba de agua con su tanque (073, 074).

NOTA

- Los focos que anteriormente utilizaban aquí eran focos ahorrativos, pero tuvieron que cambiar por los normales, ya que la calidad de foco que compraron aquí eran de mala calidad y se quemaban o dañaban, aquí se podría dar la opción de traer focos de afuera de buena calidad y demostrar a la gente que si funcionan, ya que por este tipo de casos mucha gente prefiere usar los otros que consumen 60 a 100w.

- El techo es multitecho y esta compuesto de brea que es como plástico metal color verde en la mitad borradota con papel( Foto 007), este techo solo se obtiene por pedido en guayaquil.

- Se podría dar la opción aquí de paneles solares, ya que ellos necesitan agua caliente para los viejitos que viven ahí, y también tienen maquinas para darles masajes pero no lo usan por falta de agua caliente, en la foto se observa el panorama del techo para ver donde se podria poner( Foto 896).

- En este momento no usan toda la capacidad de la edificación, por falta de dinero, y esperan el prximo año comenzar, ya que ahora los abuelitos solo van en las mañanas y tardes, no duermen ahí.

# A. Building configuration

| Construction year | 2001 |
| --- | --- |
| Orientation of main entrance | Oeste |

Density of nearby obstructions

| ( Very dense | ( Moderately dense | X Few buildings | ( Free standing |
| --- | --- | --- | --- |

Height of surrounding buildings:

| ( Higher | ( Same | X Shorter | ( Variable |
| --- | --- | --- | --- |

Building’s Shape:

| ( Square | ( Rectangular | ( Square with Atrium | Tiene forma de rectangular Con 4 ventas arriba |
| --- | --- | --- | --- |

External Walls colour 		( dark		( medium	X light

Roof colour 			( dark		X medium	( light

| Yearly Energy consumption 01 del 2002 al 07 del 2003 |
| --- |
| Electricity (kWh) Annual bill: | 475 kw $ 25.14 |

Annual operation:	from month  1    to month  12   month off       .

Heating period:		from month      to month         .

Cooling period:		from month      to month      .

# B. Description of envelope construction

# B1.    Facade

Attention: All shading percentages below are related to total window area.

|  | Facade 1 | Facade 2 | Facade 3 | Facade 4 |
| --- | --- | --- | --- | --- |
| Facade orientation | Oeste | Norte | Este | Sur |
| Facade Area (m²) | 176 | 66 | 173 | 98 |
| Walls U-value [W/(m²K)] | bloques columna | de armado | cemento | con |
| Windows area, % of facade area | 56,32% | 3.4,5% | 30, 17% | 12, 12% |
| Percentage of natural shading (%) | 0 | 0 | 0 | 0 |
| Percentage of external vertical blinds (%) | 0 | 0 | 0 | 0 |
| Percentage of external vidrios en forma percianas(%) | 6,6% | 0 | 0 | 0 |
| Percentage of overhangs (%) | 0 | 0 | 0 | 0 |
| Percentage of awnings (%) | 0 | 0 | 0 | 0 |
| Percentage of side fins (%) | 0 | 0 | 0 | 0 |
| Percentage of shutters (%) | 0 | 0 | 0 | 0 |
| Percentage of internal vertical blinds (%) | 0 | 0 | 0 | 0 |
| Percentage of internal louvers (%) | 0 | 0 | 0 | 0 |

# B2.    Floor

|  | Area (m2) | U – value [W/(m²K)] |
| --- | --- | --- |
| Floor area on the ground | 436 | 10 cm cuadrados , concreto, cemento puro y baldosa |
| Floor over non-heated zone | 0 | 0 |
| Floor exposed to the exterior (pilotis) | 0 | 0 |

# B3.    Roof

|  | Area (m2) | U – value [W/(m²K)] |
| --- | --- | --- |
| Exposed roof area | 447 | Multitechos |
| Roof area to non heated spaces | 0 | 0 |
| Roof glazed area | 0 | 0 |

#### C.    General inputs

| Parameter | Value | Description |
| --- | --- | --- |
| Site area, m² | 787 | Total lot area |
| Area of foundations, m² | 436 | Area of typical floor |
| Green Areas, m² | 0 | Green Areas |
| Height of typical floor, m | 2.70 | Height of typical floor |
| Number of floors | 2 | Number of floors, ground floor included. |
| Number of basement floors | 0 | Number of floors, below ground floor. |
| Number of rooms | 12 | Number of rooms |
| Number of staircases | 1 | Number of internal staircases |
| Gross floor area, m² | 787 | Gross floor area (basement included) |
| Garage area, m² | 0 | Garage area in basement |
| Heated floor area, m² | 0 | Heated floor area |
| Conditioned area, m² | 0 | Conditioned area |
| Supply air flow rate in rooms, m3/h | 0 | Supply air flow in rooms |
| Installed heating power, kW (Thermal) | 0 | Installed heating power |
| Installed cooling power (thermal), kW | 0 | Installed cooling power (thermal) |
| Installed electrical cooling power | 0 |  |

#### D.   Inputs for heating / cooling

| Heating set point, °C | 0 | The internal temperature is the set point temperature during the heating season. |
| --- | --- | --- |
| Cooling set point, °C | 0 | The internal temperature is the set point temperature during the cooling season. |
| Temperature control | 0 | 1: Bad control (No thermostatic control and no night set back, regulary overheating during winter) 2. No control (No thermostatic control and no night set back) 3. Standard (Thermostatic control of the indoor temperature during the heating season OR night set back of 3 °C) 4. Good control (Thermostatic control AND night setback of up to 3 °C during the heating season) 5. Advanced control (Probabilistic control of the heating system based on an estimated weather forecasts and adapted user behaviour) |
| Infiltration, ach | 0 | 1. 0.1ach 2. 0.5 ach 3. 1 ach 4. 1.5 ach |
| Boiler efficiency, % | 0 | 1. Low efficiency (Boiler in poor stage. Insulation of boiler and storage is missing. Boiler room and pipes in the boiler room are not insulated) 2. Under medium efficiency (Boiler is more than 15 years old or in a poor condition of maintenance. Insulation level of boiler and storage is insufficient) 3. Medium (Boiler is less than 15 years old OR in perfect condition. Insulation level of boiler and storage is sufficient.) 4. Over medium efficiency (Boiler is less than 15 years old and in perfect condition. Insulation level of boiler and storage is sufficient.) |
| Number of existing ceiling fans | 0 | Number of existing ceiling fans |

#### E.  Inputs for hot water production

| Fuel for domestic hot water production | 0 | 1: oil, 2:gas, 3: electricity |
| --- | --- | --- |
| Solar collectors surface, m2 |  |  |
| Available space for additional solar collectors, m2 |  |  |

Available space towards south, for solar collectors:

| ( | ( | ( |  |
| --- | --- | --- | --- |

#### Inputs for artificial lighting

|  | Internal type | External type | Power (Watt) | Daily use (h) | Remark |
| --- | --- | --- | --- | --- | --- |
| Type of existing lamps 1: standard incandescent, 2: efficient incandescent, 3: tube fluorescent, 4: compact fluorescent, 5: discharge, 6:other | Tipo/N#/KW 1/50/60 0 0 0 0 0 | Tipo/N#/KW 0 0 0 0 0 0 | 0 0 0 0 0 0 | 1 hora diaria 0 0 0 0 0 |  |

#### Inputs for electric CONSUMPTION

LOCALITY : Av Quito

N. OF PERSON: 4

| Contract typology: Residential Commercial Industrial Other : Asistencia Social | Type of fee: $3.33 |
| --- | --- |
| Power (kW) Voltage (V): Frequency (Hz): Safety equipments: | Consumption (kWh/year) |

| Person | Night | 6÷7 | 7÷8 | 8÷9 | 9÷10 | 10÷11 | 11÷12 | 12÷13 | 13÷14 | 14-15 | 15-16 | 16/17 | 17/18 | 18/19 | 19-20 | 20/21 | 21/22 | 22/23 | 23/24 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | 8 | 8 | 8 | 8 | 8 | 15 | 15 | 15 | 15 |  |  |  |  |  |  |  |
| Horas de trabajo |  |  | X | XX | XX | XX | XX | XX | XX | XX | XX | XX | XX |  |  |  |  |  |  |

| Plants-Equipments hours | Night | 6÷7 | 7÷8 | 8÷9 | 9÷10 | 10÷11 | 11÷12 | 12÷13 | 13÷14 | 14-15 | 15-16 | 16/17 | 17/18 | 18/19 | 19-20 | 20/21 | 21-22 | 22-23 | 23-24 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Lighting (W) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | XX | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Fan (W) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Food Refrigerator (W) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Hot Water (W) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Cooling (W) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |

HOUSEHOLD APPLIANCE

|  | Number | Power (Watt) | Total Daily use(h) | Hour of use | Remark |
| --- | --- | --- | --- | --- | --- |
| Radio Television | 1 1 |  | Lunes a viernes Lunes a viernes | 1 diaria 1 diaria |  |
| Computer | 0 | 0 | 0 | 0 |  |
| Domestic refrigerator Marca Daewoo | 2 | 1.5 amp | Lunes a domnigo | 24 h | nuevos |
| Freezer Marca frigidaire | 1 | 170 kw | 0 | 0 | No usan |
| Ceiling fan | 0 | 0 | 0 | 0 |  |
| Washing machine | 2 |  | Por semana | 2H | No se veia descripcion |
| Electrical space heating | 0 | 0 | 0 | 0 |  |
| Electrical DHW | 0 | 0 | 0 | 0 |  |
| Other (cafeteras, sambuchera) | 0 | 0 | 0 | 0 |  |
| Kitchen : Cooking set Oven | GAS 0 0 | 0 0 0 | 0 0 0 | 0 0 0 |  |
| AC system 1) Split system 2) HVAC | 0 0 | 0 0 | 0 0 | 0 0 |  |