# INPUTS CHECKLIST industria

# Carpinteria

# tarifa INDUSTRIAL codigo 337 n# medidor 245119 (Foto 318)

La Carpintería se encuentra ubicada en la Av. Marta Roldós, es un sector muy tranquilo y esta fuera del pueblo. La entrada principal esta al Oeste, tiene pocas edificaciones a su lado y es un tamaño variable. La carpintería no tiene paredes, tiene forma rectangular, el piso es de ripio, encontramos un árbol en la mitad donde da sombra, y podemos ver un techo hecho con fijas de Madera y el material del techo de arriba es dura Techo ( foto 307, 309) .

En la carpintería hay dos sectores donde encontramos  ubicado su maquinaria para hacer muebles, en la fachada principal vemos a primera vista una cepilladura (312) y el motor de marca CE NRG 7094 (Foto 313), y a mano izquierda esta  la catiadora ( 317), estos equipos están cubiertos por el primer techo que vemos en la entrada y tiene un árbol de coco alado donde da  sombra y le hace un lugar fresco ( foto 307).

Seguimos caminando y a mano izquierda esta el otro sector que vendría hacer la fachada dos( foto 345) , donde encontramos un árbol de ciruelo, y da sombra y frisa ( foto 310), a mano derecha encontramos una cierra de Banco que sirve para cortar la madera, no se pudo encontrar la marca del equipo( foto 323), a mano izquierda vemos la maquina que se llama cierra cinta y sirve para dar forma a la madera, marca del motor single prase( Foto 332), en una fija de madera podemos observar alambres expuestos que bajan al equipo ( Foto 331), y alambres que están pegados con cinta adhesiva ( Foto 333) , todo el techo de este sector esta llena de alambres( Foto 344) el techo es con fijas de madera y ternil.

Los otros equipos son Taladras (  Foto 336, 337),cierra circular de mano ( Foto 339, 340), Caladora ( foto 334)

Notas:

- Atrás de la carpintería se encuentra la casa del dueño.

- Encontramos una bomba de agua marca Prodollo, lo usan 7 horas Foto 321.

- Aquí se podría readecuar el Techo de la primera fachada y poner paneles solares.

# A. Building configuration

| Construction year | 1989 |
| --- | --- |
| Orientation of main entrance | Oeste |

Density of nearby obstructions

| ( Very dense | ( Moderately dense | X Few buildings | ( Free standing |
| --- | --- | --- | --- |

Height of surrounding buildings:

| ( Higher | ( Same | ( Shorter | X Variable |
| --- | --- | --- | --- |

Building’s Shape:

| ( Square | X Rectangular con árboles | ( Square with Atrium |
| --- | --- | --- |

External Walls colour 		( dark		( medium	( light		no tiene paredes.

Roof colour 			X dark		( medium	( light

| Yearly Energy consumption 01 del 2002 al 07 del 2003 |
| --- |
| Electricity (kWh) Annual bill: | 7336kw $741.54 |

Annual operation:	from month   1   to month 12    month off       .

Heating period:		from month      to month         .

Cooling period:		from month      to month      .

# B. Description of envelope construction

# B1.    Facade

Attention: All shading percentages below are related to total window area.

|  | Facade 1 | Facade 2 | Facade 3 | Facade 4 |
| --- | --- | --- | --- | --- |
| Facade orientation | Oeste | Noeste | Este | Sur |
| Facade Area (m²) | 46 | 33 | 46 | 33 |
| Walls U-value [W/(m²K)] | 0 | 0 | 0 | 0 |
| Windows area, % of facade area | 0 | 0 | 0 | 0 |
| Percentage of natural shading (%) | 30% | 0 | 0 | 0 |
| Percentage of external vertical blinds (%) | 0 | 0 | 0 | 0 |
| Percentage of external louvers (%) | 0 | 0 | 0 | 0 |
| Percentage of overhangs (%) | 0 | 0 | 0 | 0 |
| Percentage of awnings (%) | 0 | 0 | 0 | 0 |
| Percentage of side fins (%) | 0 | 0 | 0 | 0 |
| Percentage of shutters (%) | 0 | 0 | 0 | 0 |
| Percentage of internal vertical blinds (%) | 0 | 0 | 0 | 0 |
| Percentage of internal louvers (%) | 0 | 0 | 0 | 0 |

# B2.    Floor

|  | Area (m2) | U – value [W/(m²K)] |
| --- | --- | --- |
| Floor area on the ground | 204 | Piso de ripio |
| Floor over non-heated zone | 0 | 0 |
| Floor exposed to the exterior (pilotis) | 0 | 0 |

# B3.    Roof

|  | Area (m2) | U – value [W/(m²K)] |
| --- | --- | --- |
| Exposed roof area | 18 | El material del techo se llama dura techo y esta en mas o menos condiciones |
| Roof area to non heated spaces | 0 | 0 |
| Roof glazed area | 0 | 0 |

#### C.    General inputs

| Parameter | Value | Description |
| --- | --- | --- |
| Site area, m² | 204 | Total lot area |
| Area of foundations, m² | 204 | Area of typical floor |
| Green Areas, m² | 0 | Green Areas |
| Height of typical floor, m | 2.75 | Height of typical floor |
| Number of floors | 1 | Number of floors, ground floor included. |
| Number of basement floors | 0 | Number of floors, below ground floor. |
| Number of rooms | 1 | Number of rooms ,cuarto de herramientas |
| Number of staircases | 0 | Number of internal staircases |
| Gross floor area, m² | 204 | Gross floor area (basement included) |
| Garage area, m² | 0 | Garage area in basement |
| Heated floor area, m² | 0 | Heated floor area |
| Conditioned area, m² | 0 | Conditioned area |
| Supply air flow rate in rooms, m3/h | 0 | Supply air flow in rooms |
| Installed heating power, kW (Thermal) | 0 | Installed heating power |
| Installed cooling power (thermal), kW | 0 | Installed cooling power (thermal) |
| Installed electrical cooling power | 0 |  |

#### D.   Inputs for heating / cooling

| Heating set point, °C | 0 | The internal temperature is the set point temperature during the heating season. |
| --- | --- | --- |
| Cooling set point, °C | 0 | The internal temperature is the set point temperature during the cooling season. |
| Temperature control | 0 | 1: Bad control (No thermostatic control and no night set back, regulary overheating during winter) 2. No control (No thermostatic control and no night set back) 3. Standard (Thermostatic control of the indoor temperature during the heating season OR night set back of 3 °C) 4. Good control (Thermostatic control AND night setback of up to 3 °C during the heating season) 5. Advanced control (Probabilistic control of the heating system based on an estimated weather forecasts and adapted user behaviour) |
| Infiltration, ach | 0 | 1. 0.1ach 2. 0.5 ach 3. 1 ach 4. 1.5 ach |
| Boiler efficiency, % | 1 | 1. Low efficiency (Boiler in poor stage. Insulation of boiler and storage is missing. Boiler room and pipes in the boiler room are not insulated) 2. Under medium efficiency (Boiler is more than 15 years old or in a poor condition of maintenance. Insulation level of boiler and storage is insufficient) 3. Medium (Boiler is less than 15 years old OR in perfect condition. Insulation level of boiler and storage is sufficient.) 4. Over medium efficiency (Boiler is less than 15 years old and in perfect condition. Insulation level of boiler and storage is sufficient.) 5. Es una bomba que se utiliza 7 horas al día, de marca pedrollo |
| Number of existing ceiling fans | 0 | Number of existing ceiling fans |

#### E.  Inputs for hot water production

| Fuel for domestic hot water production | 0 | 1: oil, 2:gas, 3: electricity |
| --- | --- | --- |
| Solar collectors surface, m2 | 0 |  |
| Available space for additional solar collectors, m2 | 18 | Se podría hacer una base para poner los paneles, tiene espacio, el techo no esta en muy buen estado. |

Available space towards south, for solar collectors:

| ( | ( | X |  |
| --- | --- | --- | --- |

#### Inputs for artificial lighting

|  | Internal type | External type | Power (Watt) | Daily use (h) | Remark |
| --- | --- | --- | --- | --- | --- |
| Type of existing lamps 1: standard incandescent, 2: efficient incandescent, 3: tube fluorescent, 4: compact fluorescent, 5: discharge, 6:other | Tipo/N#/KW 1/2/100 0 0 0 0 0 | 0 0 0 0 0 0 | 100KW 0 0 0 0 0 | 1 hora diaria 0 0 0 0 0 |  |

#### Inputs for electric CONSUMPTION

LOCALITY : Av. Marta Roldos

N. OF PERSON: 1 Persona, fines de semana trabajan sus 3 hijos

| Contract typology: Residential Commercial Industrial Other | Type of fee: $ 55.94 |
| --- | --- |
| Power (kW) 110 a 220 Voltage (V): Frequency (Hz): Safety equipments: | Consumption (kWh/year) |

| Person | Night | 6÷7 | 7÷8 | 8÷9 | 9÷10 | 10÷11 | 11÷12 | 12÷13 | 13÷14 | 14-15 | 15-16 | 16/17 | 17/18 | 18/19 | 19-20 | 20/21 | 21/22 | 22/23 | 23/24 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| (h) de trabajo |  |  | XX | XX | XX | XX | XX | XX | XX | XX | XX | XX | XX | XX |  |  |  |  |  |

| Plants-Equipments hours | Night | 6÷7 | 7÷8 | 8÷9 | 9÷10 | 10÷11 | 11÷12 | 12÷13 | 13÷14 | 14-15 | 15-16 | 16/17 | 17/18 | 18/19 | 19-20 | 20/21 | 21-22 | 22-23 | 23-24 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Lighting (W) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | XX | XX | 0 | 0 | 0 | 0 | 0 |
| Fan (W) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Food Refrigerator (W) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Hot Water (W) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| Cooling (W) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |

EQUIPOS DE CARPINTERIA

|  | Number | Power (Watt) | Total Daily use(h) | Hour of use | Remark |
| --- | --- | --- | --- | --- | --- |
| Cepilladora | 1 | 3.7kw | 6 dias( 12 H) | 2(h) diarias |  |
| Ligadora de Disco | 1 | 3kw | 6 dias( 6 H) | 1(h) diarias |  |
| Cantiadora | 1 | 2.2kw |  |  |  |
| Cierra Cinta | 1 | 5.5 amp | 6 dias | 4 horas | Da forma a la madera |
| Cierra de Banco | 1 | 5 caballos |  |  | No tiene marca |
| Cierra de Brazo | 1 | 15 amp | 6 dias | 3 horas |  |
| Torno | 1 | 1 caballo | Por semana | Media hora por semana |  |
| Caladora | 1 | 4.5 amp | Por semana | Media hora por semana |  |
| Sierra circular portatil | 1 | 12 amp | Por semana | 15 minutos |  |
| latupiz | 4 | 9 amp | Por semana | 1 hora | Dan forma redonda a la madera |
| Talador eléctrico Talador Eléctrico Lijadoras de Mano Compresor | 1 1 3 1 | 710 kw 600 kw 13 amp | Por semana Por semana | 1 Hora Media hora | Nuevo Viejo No tiene marca |